ST.JOSEPH’S COLLEGE FOR WOMEN (AUTONOMOUS), VISAKHAPATNAM

II SEMESTER		     		     BIOTECHNOLOGY                              Time: 4Hrs/Week

BTH 2701 (3) 		               TECHNIQUES IN BIOTECHNOLOGY            Max. Marks: 100

w.e.f:2017 -2020 (‘17AE’)	          			SYLLABUS

OBJECTIVES: To enable the students to –

- Develop familiarity with important biochemical & Biophysical techniques employed in biotechnological work.

COURSE:

UNIT I: SPECTROPHOTOMETRY

- Concept of  Electromagnetic radiations, spectrum of light, absorption of Electromagnetic radiations, absorption spectrum & its uses, Beer – lambert’s law.

- Colorimeter. Instrumentation of UV & Visible spectrophotometry, double beam spectrophotometer.

- Application of UV & Visible spectrophotometry.

UNIT II: CHROMATOGRAPHY

Chromatography: Principle, Methodology & Applications of

- Paper chromatography.

- Thin – layer chromatography

- Gel filtration chromatography.

- Ion exchange chromatography

- Affinity chromatography

UNIT III: ELECTROPHORESIS

- Migration of ions in electric field, factors effecting Electrophoretic mobility.

- Paper Electrophoresis: Electrophoresis run, detection techniques, cellulose acetate electrophoresis,

- Gel Electrophoresis: Types of gels, procedure, column and slab gels, detection, Recovery & estimation of macromolecules.

- SDS – PAGE: Applications, determination of molecular weight of Protein, Molecular biology applications.

- Isoelectric focusing: Principle, Establishing PH, procedure and applications.

UNIT IV: ISOTOPIC TRACER TECHNIQUE:

- Radioactive & stable isotopes, Rate of radioactive decay, units of radioactivity.

- Measurement of Radioactivity: Ionization chamber, propositional counter, Geiger – Muller counter, solid & liquid scintillation counter (basic principle, Instrumentation & technique).

- Applications of isotopes in biotechnology (distribution studies, metabolic studies, isotope dilution technique, clinical applications in autoradiography).

UNIT V: CENTRIFUGATION:

- Basic principles, concept of RCF, Ultra centrifuge - Types

- Preparative centrifugation: Differential & density gradient centrifugation, applications (isolation of cell components).

- Analytical Centrifugation: Light absorption system, alternative schlieren system, Rayleigh interference system.

- Dialysis & lyophilization.

REFERENCES:

- Plummer – DT (1988) an introduction to practical Biochemistry. Tata McGraw Hill Co, New Delhi.

- Wilson, K & Goulding K.M.(1986) A Biologist Guide to Principles & Techniques of Practical Biochemistry ELBS Public, New Delhi.

- Stryer L (2000) Biochemistry – Freeman Toppan Delhi.

- Lehriger (2000), Biochemistry Wortlo – Delhi.

- Upadhyay, Upadhyay (2002) , Biophysical and Chemical Techniques, Himalayas Publications, New Delhi .

**   **   **

ST.JOSEPH’S COLLEGE FOR WOMEN (AUTONOMOUS), VISAKHAPATNAM

II SEMESTER		     TECHNIQUES IN BIOTECHNOLOGY                    Time: 3Hrs/Week

BTH 2751(2) 			         PRACTICALS – I B 		                     Marks: 50

w.e.f: 2017 -2020 (“17AE”)

OBJECTIVES:

To enable the students to acquire the knowledge in techniques & instrumental handling in biotechnology.

- Colorimeter – verification of Beer – Lambert’s law

- Thin layer Chromatography separation of amino acids.

- Paper Chromatography separation of Amino Acids.

- Dialysis Demonstration.

- Agarose gel electrophoresis

- SDS - PAGE.

**        **        **