ST.JOSEPH’S COLLEGE FOR WOMEN (AUTONOMOUS), VISAKHAPATNAM

VI-SEMESTER                         	             PHYSICS		                               TIME:3Hrs/week

PH-A1-6401(3)             SOLAR THERMAL AND PHOTOVOLTAIC ASPECTS   Max.Marks:100

w.e.f. 2015-2018 (“15AC”)                         SYLLABUS

OBJECTIVES:

1: To describe the use of solar energy and the various components used in energy production with respect to applications like – heating, cooling, desalination, power generation, drying, cooking etc.

2: To understand the importance of renewable energy resources and its utilization for the      Thermal and Electrical energy needs.

3: To learn the basics of solar radiation , solar PV systems and their applications.

UNIT – I : 1. Basics of Solar Radiation: Structure of Sun, Spectral distribution of extra terrestrial radiation, Solar constant, Concept of Zenith angle and air mass, Definition of declination, hour angle, solar and surface azimuth angles; Direct, diffuse and total solar radiation, Solar intensity measurement – Thermoelectric pyranometer and pyrheliometer.

2. Radiative Properties and Characteristics of Materials: Reflection, absorption and                 transmission of solar radiation throughsingle and multi covers; Kirchoff’s law – Relation between absorptance, emittance and reflectance; Selective Surfaces - preparation and characterization, Types and applications; Anti-reflective coating.

UNIT – II: 3. Flat Plate Collectors (FPC) : Description of flat plate collector, Liquid heating type FPC, Energy balance equation,Efficiency, Temperature distribution in FPC, Definitions of fin efficiency and collector efficiency, Evacuated tubular collectors.

4. Concentrating Collectors: Classification, design and performance parameters; Definitions of aperture, rim-angle, concentration ratio and acceptance angle; Tracking systems; Parabolic trough concentrators; Concentrators with point focus.

UNIT– III: 5. Solar photovoltaic (PV) cell: Physics of solar cell –Type of interfaces, homo, hetero and schottky interfaces, Photovoltaic Effect, Equivalent circuit of solar cell, Solar cell output parameters,  Series and shunt resistances and its effect on cell efficiency; Variation of efficiency with band-gap and temperature.

6. Solar cell fabrication: Production of single crystal Silicon: Czokralski (CZ) and Float Zone (FZ) methods, Silicon wafer fabrication, Wafer to cell formation, Thin film solar cells, Advantages,  CdTe/CdS cell formation, Multi-junction solar cell; Basic concept of Dye-sensitized solar cell, Quantum dot solar cell.

UNIT – IV: Solar PV systems: Solar cell module assembly – Steps involved in the fabrication of solar module, Module performance, I-V characteristics, Modules in series and parallel, Module protection – use of Bypass and Blocking diodes, Solar PV system and its components, PV array, inverter, battery and load.

UNIT– V: Solar thermal applications: Solar hot water system (SHWS), Types of SHWS, Standard method of testing the efficiency of SHWS; Passive space heating and cooling concepts, Solar desalinator and drier, Solar thermal power generation.

Solar PV applications: SPV systems; Stand alone, hybrid and grid connected systems, System installation, operation and maintenances; Field experience; PV market analysis and economics of SPV systems.

REFERENCE BOOKS:

1. Solar Energy Utilization, G. D. Rai, Khanna Publishers

2. Solar Energy- Fundamentals, design, modeling and applications, G.N. Tiwari, Narosa Pub., 2005.

3. Solar Energy-Principles of thermal energy collection & storage, S.P. Sukhatme, Tata Mc-Graw    Hill Publishers, 1999.

4. Solar Photovoltaics- Fundamentals, technologies and applications, Chetan Singh Solanki, PHI Learning Pvt. Ltd.,

5.  Science and Technology of Photovoltaics, P. Jayarama Reddy, BS Publications, 2004.

**              **             **

ST.JOSEPH’S COLLEGE FOR WOMEN (AUTONOMOUS), VISAKHAPATNAM

VI SEMESTER                         	    PHYSICS		                       TIME:3Hrs/week

PH-A1-6451(2)                           PRACTICAL:  IVA1                           Max.Marks:50

OBJECTIVES:

Minimum of 6 experiments to be done and recorded

1. Measurement of direct solar radiation using pyrheliometer.

2. Measurement of global and diffuse solar radiation using pyranometer.

3. Measurement of emissivity, reflectivity and transsivity.

4. Measurement of efficiency of solar flat plate collector.

5. Performance testing of solar air dryer unit.

6. Effect of tilt angle on the efficiency of solar photovoltaic panel.

7. Study on solar photovoltaic panel in series and parallel combination.

**          **          **