ST.JOSEPH’S COLLEGE FOR WOMEN (AUTONOMOUS), VISAKHAPATNAM

V SEMESTER                                	    PHYSICS		                                TIME: 5Hrs/week

PH-E3-5452 (4)                              PHYSIC PRACTICAL – III                             Max.Marks:100                   w.e.f. 20AH Batch	                                   SYLLABUS

COURSE OBJECTIVES:

- List out, identify and handle various equipment in Electrical & Electronics laboratory.

- Learn the procedures of designing simple electrical circuits.

- Demonstrate skills on the utility of different electrical components and devices.

- Acquire the skills regarding the operation, maintenance and troubleshooting of various

- Devices in the lab.

- Understand the different applications of Electromagnetic induction.

EXPERIMENTS:

Minimum of twelve experiments to be done and recorded.

- Construction of a Step down Transformer and measurement of its output voltage. And to compare it with the calculated value.

- Connect two or three resistors or capacitors or inductors and measure the Series, Parallel Combination values using a Multimeter and compare the values with the Calculated values.

- Use the Digital Multimeter and Analog Multimeter to measure the output voltage of an AC & DC power supply and also the voltage and frequency of a AC signal using CRO.

- Use the Multimeter to check the functionality of a Diode and Transistor. Also test whether the given transistor is PNP or NPN.

- Construct a series electric circuit with R, L and C having an AC source and study the frequency response of this circuit. Find the Resonance Frequency.

- Construct a Parallel electric circuit with R, L & C having an AC source and study the frequency response of this circuit. Find the resonant frequency.

- Test whether a circuit is a Open circuit or Short Circuit by measuring continuity with a Multimeter and record your readings.

- Familiarisation of digital multimeter and its usage in the measurements of (i) resistance      (ii) current, (iii) AC & DC voltages and for (i) continuity test (ii) diode test and (iii) transistor test

- Measure the AC and DC voltages, frequency using a CRO and compare the values measured with other instruments like Digital multimeter.

- Formation of Sine, Square wave signals on the CRO using Function Generator and measure their frequencies. Compare the measured values with actual values.

- Display the numbers from 0 to 9 on a single Seven Segment Display module by applying voltages.

- Display the letters a to h on a single Seven Segment Display module by applying voltages.

P.T.O.

PH-E3-5452 (4)                              		::2::

Demonstrative Experiments

- Acquainting with the soldering techniques.

- Measurement of body temperature using a digital thermometer and list out the error and corrections.

- Measurement of Blood Pressure of a person using a B.P. meter and record your values and analyze them.

- Get acquainted with an available ECG machine and study the ECG pattern to understand the meaning of various peaks.

- Observe and understand the operation of a Digital Pulse oxymeter and measure the pulse rate of different people and understand the working of the meter.

REFERENCE BOOKS:

- Electronic Measurement and Instrumentation by J.P. Navani. ,S. Chand & Co Ltd.

- Principles of Electronic Instrumentation by A De Sa, Elsevier Science Publ.

- Electronic Measurements and Instrumentation by S.P.Bihari, YogitaKumari, Dr. Vinay Kakka, Vayu Education of India.

- Laboratory Manual for Introductory Electronics Experiments by Maheshwari, New Age International (P) Ltd., Publishers.

- Electricity-Electronics Fundamentals: A Text-lab Manual by Paul B. Zbar ,Joseph Sloop, & Joseph G. Sloop, McGraw-Hill Education.

- Laboratory Manual Basic Electrical Engineering by Umesh Agarwal, Notion Press.

- Basic Electrical and Electronics Engineering by S.K. Bhattacharya, Pearson Publishers.

- Web sources suggested by the teacher concerned.

COURSE OUTCOMES:

- List out, identify and handle various equipment in Instrumentation Laboratory or Electronic Laboratory.

- Learn the construction, operational principles of various instruments.

- Demonstrate skills on handling, Maintenance & trouble shooting of different instruments used in the Labs.

- Acquire skills in observing and measuring various electrical and electronic quantities.

- Perform some techniques related to Biomedical Instrumentation and measurement of Certain physiological parameters like body temperature, B.P. and sugar levels etc..

**     **     **