ST. JOSEPH’S COLLEGE FOR WOMEN (AUTONOMOUS) VISAKHAPATNAM

III SEMESTER                           	   BIOCHEMISTRY      	 TIME:3HRS/WEEK

BCH-Ma1-3801(3)                  ANALYTICAL TECHNIQUES 	       MARKS:100

w.e.f. (AL Batch)                                  SYLLABUS

COURSE OBJETIVES

1. To understand the basic concepts of analytical techniques.

2. To gain knowledge about the latest advances in analytical techniques.

3. To apply these techniques in research.

UNIT- I: Methods of tissue homogenization. Salt and organic solvent extraction and fractionation. Dialysis, Reverse dialysis, ultra filtration, lyophilization. Chromatography: principle, procedure and application of partition chromatography, adsorption chromatography, ion EXCHANGE CHROMATOGRAPHY, GEL CHROMATOGRAPHY, AFFINITY CHROMATOGRAPHY, GLC AND HPLC.

UNIT-II:  Electrophoresis: Principle, procedure and application of free flow, zone electrophoresis (Paper electrophoresis, Gel electrophoresis, PAGE, SDS-PAGE and Disc PAGE). Isoelectric focusing, High voltage electrophoresis, Pulse field electrophoresis, Immunoelectrophoretic.

UNIT-III: Centrifugation: Principle of sedimentation technique. Different types of centrifuge and rotors. Principle, procedure and application of differential centrifugation, density gradient centrifugation, ultra-centrifugation, rate zonal centrifugation, isopycnic centrifugation.

UNIT-IV: Colorimetry and spectrophotometry: Laws of light absorption -Beer - Lambert’s law. UV and visible absorption spectra, molar extinction coefficient and quantitation. Principle and instrumentation of colorimetry and spectrophotometry. Principle of nephelometry, fluoromentry, Atomic absoption and emission spectrophotometer.

UNIT-V: Important stable radioisotopes used in biochemical research. P 32, I 125,I131, Co 60. C 14 etc. Radiation hazards and precautions taken while handling radioisotopes. Principle and application of RIA. Measurement of radioactivity by GM counter and Scintillation counter.