ST. JOSEPH’S COLLEGE FOR WOMEN (AUTONOMOUS) VISAKHAPATNAM

V SEMESTER                                       PHYSICS                                              TIME: 3 HRS /WEEK

PH-Mi1-5451(3)   APPLICATIONS OF ELECTRICITY AND MAGNETISM         MAX.MARKS: 100

w.e.f. (AK Batch)                          PRACTICAL SYLLABUS

Course Objective:

The objective of the practical course on Applications of Electricity and Magnetism is to provide students with hands-on experience and practical skills in applying electrical and magnetic principles to real-world applications. The course aims to develop students' proficiency in working with electrical circuits, electromagnetic devices, and related technologies through practical experimentation and project-based activities.

Learning Outcomes:

On successful completion of this practical course, student shall be able to:

1. List out, identify and handle various equipment in Electrical & Electronics laboratory.

2. Learn the procedures of designing simple electrical circuits.

3. Demonstrate skills on the utility of different electrical components and devices.

4. Acquire the skills regarding the operation, maintenance and troubleshooting of various

Devices in the lab.

5. Understand the different applications of Electromagnetic induction.

II. Practical (Laboratory) Syllabus :( 30 hrs, Max marks: 50)

1. Acquainting with the soldering techniques

2. Design and Construction of a 5 Volts DC unregulated power supply

3. Construction of a Step down Transformer and measurement of its output voltage. And

to compare it with the calculated value.

4. Connect two or three resistors or capacitors or inductors and measure the Series, Parallel Combination values using a Multi meter and compare the values with the calculated values.

5. Use the Digital Multi meter and Analog Multi meter to measure the output voltage of an AC &DC power supply and also the voltage and frequency of a AC signal using CRO.

6. Use the Multi meter to check the functionality of a Diode and Transistor. Also test whether the given transistor is PNP or NPN.

7. Construct a series electric circuit with R, L and C having an AC source and study the frequency response of this circuit. Find the Resonance Frequency.

8. Construct a Parallel electric circuit with R, L & C having an AC source and study the frequency response of this circuit .Find the resonant frequency.

9. Test whether a circuit is a Open circuit or Short Circuit by measuring continuity with a Multi meter and record your readings.

Lab References:

1. LaboratoryManualforIntroductoryElectronicsExperimentsbyMaheshwari,L.K. Anand, M.M.S., New Age International (P) Ltd.

2. Electricity-ElectronicsFundamentals:AText-labManualbyPaulB.Zbar,JosephSloop, &Joseph G. Sloop , McGraw-Hill Education

3. Laboratory Manual Basic Electrical Engineering by Umesh Agarwal, Notion Press

4. BasicElectricalandElectronicsEngineeringbyS.K.Bhattacharya,Pearson Publishers.

Web sources suggested by the teacher concerned.

***        ***         ***