ST. JOSEPH’S COLLEGE FOR WOMEN (AUTONOMOUS) VISAKHAPATNAM

V SEMESTER                                       PHYSICS                       TIME: 3 HRS /WEEK

PH-Mi2-5401(3)                 ELECTRONIC INSTRUMENTATION            MAX.MARKS: 100

w.e.f. (AK Batch)                                    SYLLABUS

Course Objective:

The objective of the course on Electronic Instrumentation is to provide students with a comprehensive understanding of various electronic instruments used for measurement, data acquisition, and control applications.

The course aims to develop students' knowledge and skills in the design, operation, calibration, and application of electronic instruments.

Learning Outcomes:

Students after successful completion of the course will be able to:

1. Identify various facilities required to setup a basic Instrumentation Laboratory.

- Acquire a critical knowledge of various Electrical Instruments used in the Laboratory.

- Demonstrate skills of using instruments like CRO, Function Generator, Multi meter etc. through hands on experience.

- Understand the Principle and operation of different display devices used in the display systems and different transducers

- Comprehend the applications of various biomedical instruments in daily life like B.P. meter, ECG, Pulse oximeter etc. and know the handling procedures with safety and security.

UNIT-I Introduction to Instruments	(9Hrs.)

- Basic of measurements:

Instruments accuracy, precision, sensitivity, resolution, range, errors in measurement,   Classification of Instruments, Analog instruments & Digital Instruments, Construction and working of an Analog Multi meter and Digital Multi meter (Block diagram approach), DC Voltmeter and AC Voltmeter, Sensitivity, 3½ display and 4½ display Digital Multi meter, Sources of errors in the Measurement of resistance, voltage and current, Specifications of Multimeter and their significance.

- Balancing and damping Moving iron instruments & PMMC instruments.

## UNIT- II  Oscilloscope (9Hrs.)

- Cathoderayoscilloscope–PrincipleandblockdiagramofCRO-CathodeRayTube–functioning–variouscontrols

- Applications CRO: Measurement of voltage (dcandac), frequency & time period, Different types of oscilloscopes and their uses, Digital storage Oscilloscope.

## UNIT-III Transducers and Bridges	(9Hrs)

- Linear Variable Differential Transformer (LVDT),Resistive, Capacitive & Inductive transducers, Piezo- electric transducer.

- DC Bridge-Wheatstone’ s bridge, AC Bridges-Measurement of Inductance and Capacitance– Maxwell’s bridge, Schering Bridge, Measurement of frequency – Wien’s bridge.

## UNIT-IV ADC and DAC &Display Instruments	(9Hrs)

- A/D&D/A converters- Binary ladder, A/D converters–successive approximation type.

- Introduction to Display devices, LED Displays, Seven Segment Displays, Construction and operation (Display of numbers),Types of SSDs(Common Anode & Common Cathode type),Limitations of SSDs, Liquid Crystal Displays, Principle and working, Applications of LCD modules.

## UNIT-V Biomedical Instruments (9Hrs)

Basic operating principles and uses of (i) Clinical thermometer (ii) Stethescope (iii) Sphygmomanometer (iv) ECG machine (v) Radiography (vi) Ophthalmoscope (vii) Ultrasound scanning (viii) Ventilator (ix) Pulse oxymeter (x) Gluco meter, Basic ideas of CT scan and MRI scan.

REFERENCEBOOKS:

  - Electronic Instrumentation by H.S. Kalsi, TMH Publishers

  - Electronic Instrument Hand Book by Clyde F. Coombs, Mc Graw Hill

  - IntroductiontoBiomedicalInstrumentationbyMandeepSingh,PHILearning.

  - Electronic Instrumentation– WD Cooper

  - Electrical and Electronic Instrumentation–AK Sawhany

  - A text book in electrical technology by B.L. Thereja (S. Chand &Co)

  - Biomedical Instrumentation and Measurements by Leslie Cromwell, Prentice Hall India.

  - Electronic Measurements and Instrumentation by Kishor,KLal,Pearson,NewDelhi

  - Electrical and Electronic Measurements by Sahan, A.K., Dhanpat Rai, NewDelhi

  - Electronic Instruments and Measurement Techniques by Cooper, W.D.Halfrick, A.B., PHI Learning, New Delhi

  - Websourcessuggestedbytheteacherconcernedandthecollegelibrarianincludingreading material.

***                ***             ***