ST. JOSEPH’S COLLEGE FOR WOMEN (AUTONOMOUS) VISAKHAPATNAM

V SEMESTER                                       PHYSICS                                  TIME: 3 HRS /WEEK

PH-Mi2-5451(3)                 ELECTRONIC INSTRUMENTATION            MAX.MARKS: 100

w.e.f. (AK Batch)                          PRACTICAL SYLLABUS

COURSE   OBJECTIVE:

The objective of the practical course on Electronic Instrumentation is to provide students with hands-on experience in using electronic instruments for measurement, data acquisition, and control applications. The course aims to develop students' practical skills in operating, calibrating, and troubleshooting electronic instruments commonly used in scientific, engineering, and industrial settings.

LEARNING OUTCOMES:

    - Familiarize students with arrange of electronic instruments, including multi meters, oscilloscopes, signal generators, and data acquisition systems.

    - Learn the basic operation, functions, and features of each instrument.

    - Gain hands-on experience in connecting, configuring, and using different instruments for various measurement tasks.

    - Develop proficiency in performing common electrical measurements, such as voltage, current, resistance, frequency, and temperature measurements.

    - Learn specialized measurement techniques, including impedance measurements, time and frequency measurements, and power measurements.

    - Gainpracticalexperienceinselectingappropriatemeasurementtechniquesand instruments for specific applications.

PRACTICAL SYLLABUS

- Familiarizationofdigitalmultimeteranditsusageinthemeasurementsof(i)resistance(ii)current,

(iii) AC &DC voltages

- Measure the AC and DC voltages, frequency using a CRO and compare the values measured with other instruments like Digital multi meter.

- Formation of Sine, Square wave signals on the CRO using Function Generator and measure their frequencies. Compare the measured values with actual values.

- Display the numbers from 0 to 9 on a single Seven Segment Display module by applying voltages.

- Measurement of body temperature using a digital thermometer rand list out the error and corrections.

- Measurement of Blood Pressure of a person using a B.P. meter and record your values and analyze them.

- Observe and understand the operation of a Digital Pulse oxymeter and measure the pulse rate of different people and understand the working of the meter.

V

I. Lab References:

1.   Electronic Measurement and Instrumentation by J.P.Navani.,S Chand&CoLtd

2.    Principles of Electronic Instrumentation by A De Sa,Elsevier Science Publ.

- Electronic Measurements and Instrumentation by S.P.Bihari, Yogita Kumari, Dr.Vinay  Kakka, Vayu Education of India .

- Laboratory Manual For Introductory Electronics Experiments by Maheshwari, New Age International (P) Ltd., Publishers.

- Electricity-Electronics Fundamentals: A Text-lab Manual by Paul B. Zbar, Joseph Sloop, &Joseph G. Sloop , McGraw-Hill Education.

- Web sources suggested by the teacher concerned.

***           ***             ***